## Sheet1
Laser | Channel | Fluorochrome | Brightness BD | Brightness Biolegend | Brightness Thermofisher | FluoroFinder | Phitonex | Brightness BD+BL+TF+FF+PN | Brightness
UV | UV379 | AF350 |  |  | 1 |  |  | 1 | 1
Violet | V450 | AF405 |  |  | 3 | 2 |  | 2.5 | 3 | Information collected from:
Violet | V525 | AF430 | [7 empty] | https://www.bdbiosciences.com/en-us/instruments/research-instruments/research-cell-analyzers/facsymphony#tab-3
Blue | B530 | AF488 | 2 | 1 | 4 | 3 | 2 | 2.4167 | 2 | https://www.biolegend.com/en-us/brightness-index
|  | AF532 |  |  | 3 |  | 1 | 2 | 2 | FluoroFinder
Red | R670 | AF647 | 3 | 4 | 5 | 4 | 5 | 4.25 | 4 | https://www.bu.edu/flow-cytometry/files/2014/09/Fluorochrome-Chart-Relative-Brightness.pdf
|  | AF680 |  |  |  | 2 |  | 2 | 2 | https://www.thermofisher.com/be/en/home/life-science/cell-analysis/fluorophores.html
Red | R730 | AF700 | 1 | 2 | 1 | 1 | 2 | 1.4167 | 1 | https://www.phitonex.com/fluorescent-labels/spectral-cytometry-viewer/
Violet | V525 | Amcyan |  |  |  | 2 |  | 2 | 2 | https://app.fluorofinder.com/panels/5672c8f053f80139d8ae1958193f458a/marker_selections
Red | R670 | APC | 3 | 4 | 5 | 5 | 5 | 4.4583 | 4
Red | R780 | APC-Alexa750 |  |  |  | 2 |  | 2 | 2
Red | R730 | APC-Cy5.5 |  |  |  | 2 |  | 2 | 2
Red | R780 | APC-Cy7 | 1 | 2 |  | 2 | 3 | 2.0526 | 2
Red | R780 | APC-eFluor780 |  |  | 2 | 2 | 2 | 2 | 2
Red | R780 | APC-Fire750 | 3 | 2 |  | 2 | 2 | 2.2105 | 2
|  | APC-Fire810 |  | 3 |  |  |  | 3 | 3
Red | R780 | APC-H7 | 1 |  |  | 1 |  | 1 | 1
Red | R730 | APC-R700 | 3 |  |  | 4 | 4 | 3.7143 | 4
|  | APC-Vio770 |  |  |  | 4 |  | 4 | 4
Blue | B530 | BB515 | 4 |  |  | 5 | 5 | 4.7143 | 5
Blue | B610 | BB630-P | 4 |  |  | 5 |  | 4.5556 | 5
Blue | B670 | BB660-P | 4 |  |  | 5 |  | 4.5556 | 5
Blue | B710 | BB700 | 4 |  |  | 3 |  | 3.4444 | 3
Blue | B780 | BB790-P | 4 |  |  | 5 |  | 4.5556 | 5
UV | UV379 | BUV395 | 2 |  |  | 2 |  | 2 | 2
UV | UV515 | BUV496 | 2 |  |  | 2 |  | 2 | 2
UV | UV580 | BUV563 | 3 |  |  | 4 |  | 3.5556 | 4
UV | UV605 | BUV615-P | 3 |  |  |  |  | 3 | 3
UV | UV670 | BUV661 | 3 |  |  | 4 |  | 3.5556 | 4
UV | UV735 | BUV737 | 3 |  |  | 4 |  | 3.5556 | 4
UV | UV810 | BUV805 | 1 |  |  | 1 |  | 1 | 1
Violet | V450 | BV421 | 4 | 4 |  | 5 |  | 4.3571 | 4
Violet | V525 | BV480 | 3 |  |  | 4 |  | 3.5556 | 4
Violet | V525 | BV510 | 2 | 1 |  | 3 |  | 2 | 2
Violet | V586 | BV570 | 2 | 1 |  | 3 |  | 2 | 2
Violet | V605 | BV605 | 3 | 3 |  | 4 |  | 3.3571 | 3
Violet | V660 | BV650 | 4 | 3 |  | 4 |  | 3.6429 | 4
Violet | V695 | BV711 | 4 | 4 |  | 4 |  | 4 | 4
Violet | V750 | BV750 | 2 | 3 |  | 4 |  | 3.0714 | 3
Violet | V780 | BV785 |  | 3 |  | 3 |  | 3 | 3
Violet | V780 | BV786 | 3 |  |  | 3 |  | 3 | 3
Yellow-Green | Y586 | BYG584-P | 4 |  |  |  |  | 4 | 4
Yellow-Green | Y670 | BYG670-P
Yellow-Green | Y780 | BYG790-P
|  | CF 568 |  |  |  |  | 4 | 4 | 4
Blue | B530 | CFSE
Red | R670 | DRAQ5
Violet | V450 | eFluor450 |  |  | 2 | 2 |  | 2 | 2
Violet | V525 | eFluor506 |  |  | 1 |  |  | 1 | 1
Red | R670 | eFluor660 |  |  | 4 | 4 |  | 4 | 4
Red | R730 | eFluor710
Red | R780 | eFluor780
Blue | B530 | FITC | 2 | 1 | 3 | 2 | 1 | 1.7917 | 2
Blue | B530 | GFP
Blue | B530 | KiraviaBlue520 |  | 3 |  |  | 3 | 3 | 3
|  | NovaBlue510 |  |  |  |  | 1 | 1 | 1
Blue | B530 | NovaBlue530 |  |  |  |  | 1 | 1 | 1
|  | NovaBlue555 |  |  |  |  | 1 | 1 | 1
|  | NovaBlue585 |  |  |  |  | 1 | 1 | 1
Blue | B610 | NovaBlue610 |  |  |  |  | 1 | 1 | 1
Blue | B670 | NovaBlue660 |  |  |  |  | 2 | 2 | 2
|  | NovaRed660 |  |  |  |  | 3 | 3 | 3
|  | NovaRed685 |  |  |  |  | 5 | 5 | 5
|  | NovaRed700 |  |  |  |  | 4 | 4 | 4
|  | NovaRed710 |  |  |  |  | 3 | 3 | 3
Yellow-Green | Y586 | NovaYellow570 |  |  |  |  | 2 | 2 | 2
Yellow-Green | Y610 | NovaYellow610 |  |  |  |  | 3 | 3 | 3
Yellow-Green | Y670 | NovaYellow660 |  |  |  |  | 2 | 2 | 2
|  | NovaYellow690 |  |  |  |  | 5 | 5 | 5
|  | NovaYellow700 |  |  |  |  | 5 | 5 | 5
|  | NovaYellow720 |  |  |  |  | 3 | 3 | 3
Violet | V450 | PacificBlue | 1 | 1 | 2 | 2 |  | 1.5263 | 2
Violet | V605 | PacOrange |  |  | 1 | 1 |  | 1 | 1
Yellow-Green | Y586 | PE | 3 | 5 | 5 | 5 | 5 | 4.6667 | 5
Yellow-Green | Y610 | PE-AF610
|  | PE-AF700 |  |  |  |  | 2 | 2 | 2
Yellow-Green | Y670 | PE-CF594 | 4 |  |  | 4 |  | 4 | 4
Yellow-Green | Y710 | PE-Cy5 | 4 | 5 |  | 5 | 5 | 4.7895 | 5
Yellow-Green | Y710 | PE-Cy5.5 |  |  |  | 3 | 5 | 4 | 4
Yellow-Green | Y780 | PE-Cy7 | 4 | 4 | 4 | 3 | 5 | 4 | 4
Yellow-Green | Y610 | PE-Dazzle594 |  | 5 |  | 5 | 5 | 5 | 5
Yellow-Green | Y610 | PE-eFluor610 |  |  | 3 | 3 |  | 3 | 3
|  | PE-Fire640 |  | 4 |  |  |  | 4 | 4
Yellow-Green | Y710 | PE-Fire700 |  | 5 |  |  |  | 5 | 5
Yellow-Green | Y780 | PE-Fire780 |  | 4 |  |  |  | 4 | 4
|  | PE-Vio770 |  |  |  | 4 |  | 4 | 4
|  | PerCP | 1 | 1 |  |  | 1 | 1 | 1
Blue | B710 | PerCP-Cy5.5 | 2 | 2 | 3 | 2 | 1 | 2 | 2
Blue | B710 | PerCP-eFluor710 |  |  | 4 | 4 | 4 | 4 | 4
|  | PerCP-Vio700 |  |  |  | 4 | 1 | 2.5 | 3
Violet | V525 | Qdot525 |  |  | 5 |  |  | 5 | 5
|  | Qdot565 |  |  | 5 |  |  | 5 | 5
Violet | V605 | Qdot585
Violet | V605 | Qdot605 |  |  | 5 | 5 |  | 5 | 5
Violet | V677 | Qdot655 |  |  | 5 | 5 |  | 5 | 5
Violet | V710 | Qdot705 |  |  | 5 |  |  | 5 | 5
|  | Qdot800 |  |  | 5 |  |  | 5 | 5
Red | R730 | Red 718 | 3 |  |  |  |  | 3 | 3
Violet | V450 | SB436 |  |  | 4 | 5 |  | 4.5 | 5
Violet | V605 | SB600 |  |  | 5 | 5 |  | 5 | 5
Violet | V677 | SB645 |  |  | 5 | 4 |  | 4.5 | 5
Violet | V710 | SB702 |  |  | 5 | 4 |  | 4.5 | 5
Violet | V780 | SB780 |  |  | 4 |  |  | 4 | 4
|  | Spark Blue 550 |  | 1 |  |  | 1 | 1 | 1
|  | Spark NIR 685 |  | 2 |  |  | 4 | 3 | 3
|  | Spark Violet 538 |  | 1 |  |  |  | 1 | 1
|  | Spark YG 581 |  | 2 |  |  |  | 2 | 2
Violet | V450 | SytoxBlue
Violet | V450 | V450 | 1 |  |  | 2 |  | 1.5556 | 2
Violet | V525 | V500 | 1 |  |  | 2 |  | 1.5556 | 2
|  | VioBlue |  |  |  | 4 |  | 4 | 4
|  | VioBright 515 |  |  |  | 5 |  | 5 | 5
|  | VioGreen |  |  |  | 4 |  | 4 | 4
Blue | B530 | YFP
|  |  | 4 | 5 | 5 | 5 | 5